## Slide 1: DESIGN OF FACILITY MAPS

## Slide 2
TYPES OF MAPS IN PHARMA INDUSTRY
BASIC DRAWINGS
Topo Plan :
Topographical plans and maps are drawings which show the main physical features on the ground, such as buildings, fences, roads, rivers, lakes and forests, as well as the changes in elevation between landforms such as valleys and hills.
Contour Drawing :
Contour drawing means drawing representing surface of the earth using contour lines.
Plot Plan :
A plot plan is a birds-eye view of the entire property. It is an architecture, surveyor, engineering, and/or landscape architecture plan, drawing, or diagram which shows all of the major features, buildings and structures on a piece of property.
Engineering drawing or layout :
It is a technical schematic visual of a building, equipment, system, or object. The drawings or layout provide information regarding the dimensions required for the construction and overview of a building, object, equipment, etc.

## Slide 3
Manufacturing facility plot plan
Facility floor plan
Facility Heating Ventilation and Air Conditioning (HVAC) system zoning layout
Facility area classification zoning layout
Facility pressure zoning layout
Facility man and material movement layout
Facility HVAC ducting layout
Facility equipment layout
Air Handling Unit (AHU) AHU air flow diagrams
Water system drawings
Compressed air distribution line diagram
Nitrogen gas distribution line diagram
RESPONSIBILITY :
Projects Department :
To prepare drawings (using an in-house team or with the help of a consultant) for plant design before plant construction.
Plant Engineering Department :
To prepare/ revise the drawing and layout. Responsibility of plant engineering for preparation or revision of drawing usually starts once the plant is handed over to the site team by the project team after project completion.
Project Head or Engineering head : To check the drawing and layout for its adequacy.
Plant Head / Factory Head / Quality Assurance Head : To approve the drawings and layouts.

## Slide 4
Manufacturing facility plot plan :
The plot plan provides information about the overview of the facility plot, walkways surrounding the facility, location of the facility, number of buildings / blocks available on the plot.
Facility floor plan :
The floor plan is a simple schematic layout of each floor of the manufacturing facility that provides an overview of the area, room names, room numbers, doors with opening direction, windows, pillars, etc.
Facility Heating Ventilation and Air Conditioning (HVAC) system zoning layout :
The drawing provides an overview of the HVAC systems design and AHU connections supplied to the respective areas.
Facility Man and Material movement layout :
This drawing provides overview of the man ad material entry in the rooms.
Facility HVAC ducting layout :
This drawing provides an overview of the AHU ducting on the service floor and its entry to the respective rooms. Facility equipment layout :
This drawing provides an overview of the equipment placement in the room.

## Slide 5
PROCEDURE OF PEPARATION OF DRAWINGS
Drawing for the facility shall be prepared by the project department at the time of facility commissioning. Subsequently, once the plant is handed over to the site in-charge or location-specific team, the revision or modification of the drawings or layouts shall be done by the engineering department of the site.
Each drawing should have unique identification number. (Note: The number should be generated in-house instead of using a consultant numbering system to have a uniform numbering system)
Whenever the initial drawing is prepared by the consultant, in addition to the site-specific numbering system, reference to the consultant drawing should be specified.
Drawing revision history should be maintained to track the changes made in the drawings.
Any change in the drawing should be done through the change control management procedure.
While preparation of drawing, appropriate legends shall be used for easy understanding.
The drawing should be prepared in such a way that the information available in the drawing should be legible.
Drawing should always be printed in color copy for better readability when the color is used to demark the area and zonings.

## Slide 6
APPLICATION OF DRAWING AND LAYOUT
Facility approvals by government authorities
Requirement of Site Master File
To understand the facility at glance
Requirement by regulatory auditors during inspection to understand the facility design and
Compliance
CHANGE CONTROLS EXAMPLES
1. If a Production Department decides to upgrade existing equipment due to capacity issues, the upgradation activity will take place by appropriate change control procedures.
2. Another example could be changing room dimensions to accommodate the newly installed machine. The Engineering Department will use the change control procedure to change the room’s physical dimensions.

## Slide 7
EXAMPLES OF DRAWINGS
GENERAL LAYOUT

## Slide 8
MATERIAL FLOW

## Slide 9
WASTE FLOW

## Slide 10
THANK YOU